SAFETY BULLETIN

DEPARTMENT of ENVIRONMENTAL HEALTH and SAFETY

# Albert Einstein College of Medicine of Yeshiva University

Phone:  x2243                    e-mail: caspar@aecom.yu.edu           Fax: x8740

Research Animals in The MicroPET Facility

As with all laboratories licensed to use radioactive material, the MicroPET Facility must comply with applicable radiation safety regulations.  Prior to conducting the research, the researcher must provide a copy of an approved Animal Protocol to the Imaging Specialist at the MicroPET Facility with.  The researcher will also sign the “Obligation to Follow Radiation Safety Practices in the MicroPET Facility” form (see attached).  The protocol and this form should be kept on file in the MicroPET Facility.

All animals, tissue and cages used in research at the MicroPET Facility, room 305 MRRC, must remain in the facility for 10 half-lives after the radioactive material is injected into the animal.  This insures that the radioactive material has effectively decayed away prior to being returned to the research laboratory or the Institute of Animal Studies.  The following provides a list of commonly used radioisotopes in the Facility, the half life for these radioisotopes, and the 10 half-lives required prior to transporting the animals, tissue and cages:

| Radioisotope | Half-life | 10 Half-lives |
| --- | --- | --- |
| F-18 | 109.77 minutes | 19 hours |
| C-11 | 20.38 minutes | 4 hours |
| I-124 | 4.176 days | 42 days |
| Cu-60 | 23.7 minutes | 4 hours |
| Cu-61 | 3.33 hours | 34 hours |
| Cu-62 | 9.73 minutes | 2 hours |
| Cu-64 | 12.7 hours | 6 days |
| Br-75 | 96.7 minutes | 17 hours |
| Br-76 | 16.2 hours | 7 days |
| Ga-66 | 9.49 minutes | 2 hours |
| Ga-68 | 67.71 minutes | 12 hours |
| Rb-82 | 1.273 minutes | 12 minutes |

2

In the case of animals, the Imaging Specialist must do the following prior to releasing the animals to the researcher:

- Hold animals for 10 half lives.

- Survey animals for residual radioactive material.

- Hold animal longer if necessary.

- Complete “Internal Transfer of Animals from MicroPET Facility” form (see attached).

- Have a representative of the Institute for Animal Studies and the Radiation Safety Officer sign off on the transfer.

- Document the radiation survey and release.

In the case of tissue or cages released to the Researcher, the Imaging Specialist must:

- Hold for 10 half lives.

- Survey for residual radioactive material.

- Hold for extended period of time if necessary.

- Document the radiation survey and release.

The survey should be documented in a log indicating the date, the number of animals, tissues and cages released, the researcher to whom the animals are released, and confirmation that there is no residual radiation.

NOTE:  Researchers must comply with the decision by the Imaging Specialist to release the animals only after 10 half-lives.

Attachment: Obligation to Follow Radiation Safety Policies in the MicroPET Facility and Internal Transfer of Animals from MicroPET Facility

DEPARTMENT of ENVIRONMENTAL HEALTH and SAFETY

# Albert Einstein College of Medicine of Yeshiva University

Obligation to Follow Radiation Safety Policies in the MicroPET Facility

I understand that for radiation safety reasons, I will follow and abide by decisions made by the Imaging Specialist at the MicroPET Facility.  This includes:

- Requirements to use dosimetry.

- Requirements for personal protective equipment.

- Radiation Safety practices when handling the animal.

- Removal of the animals, tissue and cages from the MicroPET Facility after 10 half-lives.

Researcher:________________________

Print Name

Signature:  _________________________

Date:          _________________________

DEPARTMENT of ENVIRONMENTAL HEALTH and SAFETY

Internal Transfer of Animals from PET Facility

Animals imaged in the PET facility must be held in the facility for a period of time equal to at least 10 half-lives of the longest-lived radioisotope.  Prior to moving animals from PET facility, approval must be obtained from the Radiation Safety Officer and the Institute for Animal Studies (Dr. Herbst).

- Date submitted: ______________________

- Origin of Animals:

PI: ____________________________	Species: _________________

PI’s Animal Protocol number: _____________  Protocol Approval Date: _______

Source housing location (Building and room): ____________________________

- Radioisotope(s) used (include conjugate): _______________________________

Date of injection / imaging: ________________  Dose: ____________________

- Animals to be moved by (MARK ONE):

 	Investigator’s staff				 PET facility staff

5.  How many cages / animals to be moved?

****The Institute for Animal Studies requires notification when this transfer is completed****

# Administrative Use Only

Approved by IAS:

____________________  		________________________  	Date: _______________

(Name)				(Signature)

Approved by Radiation Safety:

____________________  		________________________  	Date: _______________

(Name)					(Signature)

Transfer Completed?   No   Yes

Moved by: __________________________________			Date: _______________

## RETURN THIS FORM TO IAS WHEN MOVE IS COMPLETED